## Wind Farm
Asset | Component | Sub-Component | Sub-Sub-Component
Wind Farm | Transmission | Bushings | Body
Wind Farm | Transmission | Bushings | Insulation | Paper Insulation
Wind Farm | Transmission | Bushings | Insulation | Porcelain Insulation
Wind Farm | Transmission | Bushings | Insulation | Resin Insulation
Wind Farm | Transmission | Conductor (Power Line) | Conductor | All-Aluminum-Alloy Conductor (AAAC)
Wind Farm | Transmission | Conductor (Power Line) | Conductor | Aluminum Conductor Steel Reinforced (ACSR)
Wind Farm | Transmission | Conductor (Power Line) | Conductor | Carbon Fiber Core
Wind Farm | Transmission | Conductor (Power Line) | Conductor | Copper
Wind Farm | Transmission | Conductor (Power Line) | Conductor | Glass Fiber Core
Wind Farm | Transmission | Conductor (Power Line) | Conductor | Steel Core
Wind Farm | Transmission | Conductor (Power Line) | Ground Wire | Steel
Wind Farm | Transmission | Conductor (Power Line) | Ground Wire | Zinc Coating
Wind Farm | Transmission | Insulators | Glass-reinforced Polymer
Wind Farm | Transmission | Insulators | Polymer (Silicone Rubber Based)
Wind Farm | Transmission | Insulators | Porcelain (Wet Process)
Wind Farm | Transmission | Insulators | Semi-Conductive Glaze Finish
Wind Farm | Transmission | Power Pole | Cross Arm | Aluminum
Wind Farm | Transmission | Power Pole | Cross Arm | Composite
Wind Farm | Transmission | Power Pole | Cross Arm | Steel
Wind Farm | Transmission | Power Pole | Cross Arm | Wood
Wind Farm | Transmission | Power Pole | Pylon | Aluminum
Wind Farm | Transmission | Power Pole | Pylon | As-Grown Wood
Wind Farm | Transmission | Power Pole | Pylon | Concrete
Wind Farm | Transmission | Power Pole | Pylon | Laminated Wood
Wind Farm | Transmission | Power Pole | Pylon | Lattice Steel Structures
Wind Farm | Transmission | Power Pole | Pylon | Steel Tubular Pole Structures
Wind Farm | Transmission | Transmission Line Arrester | Arrester Body
Wind Farm | Transmission | Transmission Line Arrester | Disconnector
Wind Farm | Transmission | Transmission Line Arrester | Flex Joint
Wind Farm | Transmission | Transmission Line Arrester | Ground Lead
Wind Farm | Transmission | Transmission Line Arrester | Saddle Camp
Wind Farm | Transmission | Transmission Line Arrester | Shunt
Wind Farm | Transformers | Breather
Wind Farm | Transformers | Buchholz Relay
Wind Farm | Transformers | Cooling Tubes
Wind Farm | Transformers | Explosion Vent
Wind Farm | Transformers | Insulating Materials | Cardboard
Wind Farm | Transformers | Insulating Materials | Oil Impregnated Paper
Wind Farm | Transformers | Laminated Core
Wind Farm | Transformers | Oil Conservator
Wind Farm | Transformers | Tap Changer
Wind Farm | Transformers | Transformer Oil
Wind Farm | Transformers | Windings
Wind Farm | Transformers | Step-up Transformer
Wind Farm | Substation | Auto-Reclosure Facility
Wind Farm | Substation | Auxillary Standby Power System
Wind Farm | Substation | Breakers
Wind Farm | Substation | Bus Bar
Wind Farm | Substation | Circuit Breakers | Air Blast Circuit Breaker
Wind Farm | Substation | Circuit Breakers | Oil Circuit Breaker
Wind Farm | Substation | Circuit Breakers | Relay Coil
Wind Farm | Substation | Circuit Breakers | SF6 Circuit Breaker
Wind Farm | Substation | Circuit Breakers | Tripping Coil
Wind Farm | Substation | Circuit Breakers | Vacuum Circuit Breaker
Wind Farm | Substation | Communications Systems
Wind Farm | Substation | Control Cable
Wind Farm | Substation | Lightning Arresters
Wind Farm | Substation | Power Cable
Wind Farm | Substation | Protection System
Wind Farm | Substation | Substation Earthing System
Wind Farm | Substation | Switchgear
Wind Farm | Wind Turbine | Wind Vane | Steel
Wind Farm | Wind Turbine | Wind Vane | Copper
Wind Farm | Wind Turbine | Anemometer | Steel
Wind Farm | Wind Turbine | Anemometer | Copper
Wind Farm | Wind Turbine | Nacelle | Gearbox Drivetrain
Wind Farm | Wind Turbine | Nacelle | Gearbox Drivetrain | Main Bearing
Wind Farm | Wind Turbine | Nacelle | Gearbox Drivetrain | Main Shaft
Wind Farm | Wind Turbine | Nacelle | Gearbox Drivetrain | Gearbox
Wind Farm | Wind Turbine | Nacelle | Gearbox Drivetrain | Gearbox | Copper Windings
Wind Farm | Wind Turbine | Nacelle | Gearbox Drivetrain | Gearbox | Steel
Wind Farm | Wind Turbine | Nacelle | Gearbox Drivetrain | Generator
Wind Farm | Wind Turbine | Nacelle | Gearbox Drivetrain | Generator
Wind Farm | Wind Turbine | Nacelle | Yaw System | Yaw Drive
Wind Farm | Wind Turbine | Nacelle | Yaw System | Yaw Motor
Wind Farm | Wind Turbine | Nacelle | Brake
Wind Farm | Wind Turbine | Nacelle | Low-Speed Shaft
Wind Farm | Wind Turbine | Nacelle | High-Speed Shaft
Wind Farm | Wind Turbine | Nacelle | Controller
Wind Farm | Wind Turbine | Rotor | Blades | Carbon Fiber
Wind Farm | Wind Turbine | Rotor | Blades | Fiberglass
Wind Farm | Wind Turbine | Rotor | Blades | Wood
Wind Farm | Wind Turbine | Rotor | Hub | Pitch Mechanism
Wind Farm |  | Tower | Galvanized Steel
Wind Farm |  | Tower | Lattice
Wind Farm |  | Tower | Concrete
Wind Farm |  | Foundation | Concrete
Wind Farm |  | Foundation | Anchors
Wind Farm |  | Foundation | Rebar
Wind Farm |  | Access Road