## Sheet1
label | component | subcomponent | subcomponent | subcomponent
Concentrated Solar | Central Tower System | Solar Collection System | Heliostat Field | Control unit
Concentrated Solar | Central Tower System | Solar Collection System | Heliostat Field | Drive system
Concentrated Solar | Central Tower System | Solar Collection System | Heliostat Field | Heliostat mirrors
Concentrated Solar | Central Tower System | Solar Collection System | Heliostat Field | Mirror support structure
Concentrated Solar | Central Tower System | Solar Collection System | Heliostat Field | Sun-tracking actuator
Concentrated Solar | Central Tower System | Receiver System | Central Receiver | Absorber surface
Concentrated Solar | Central Tower System | Receiver System | Central Receiver | Heat transfer piping
Concentrated Solar | Central Tower System | Receiver System | Central Receiver | Insulation and shielding
Concentrated Solar | Central Tower System | Receiver System | Central Receiver | Tower support structure
Concentrated Solar | Central Tower System | Heat Transfer System / Thermal Energy Storage System | Circulation pumps
Concentrated Solar | Central Tower System | Heat Transfer System / Thermal Energy Storage System | Expansion tank
Concentrated Solar | Central Tower System | Heat Transfer System / Thermal Energy Storage System | Heat exchangers
Concentrated Solar | Central Tower System | Heat Transfer System / Thermal Energy Storage System | HTF piping network
Concentrated Solar | Central Tower System | Heat Transfer System / Thermal Energy Storage System | Molten salt (or other HTF)
Concentrated Solar | Central Tower System | Heat Transfer System / Thermal Energy Storage System | Thermal monitoring sensors
Concentrated Solar | Central Tower System | Power Block | Condenser system | Air-cooled condenser (alternative)
Concentrated Solar | Central Tower System | Power Block | Condenser system | Cooling water pumps
Concentrated Solar | Central Tower System | Power Block | Condenser system | Surface condenser
Concentrated Solar | Central Tower System | Power Block | Generator system | Cooling system
Concentrated Solar | Central Tower System | Power Block | Generator system | Bearings
Concentrated Solar | Central Tower System | Power Block | Generator system | Rotor
Concentrated Solar | Central Tower System | Power Block | Generator system | Stator
Concentrated Solar | Central Tower System | Power Block | Steam generation system | Boiler / steam generator
Concentrated Solar | Central Tower System | Power Block | Steam generation system | Preheater
Concentrated Solar | Central Tower System | Power Block | Steam generation system | Reheater
Concentrated Solar | Central Tower System | Power Block | Steam generation system | Superheater
Concentrated Solar | Central Tower System | Power Block | Turbine system | Bearings
Concentrated Solar | Central Tower System | Power Block | Turbine system | Lubrication system
Concentrated Solar | Central Tower System | Power Block | Turbine system | Steam turbine
Concentrated Solar | Central Tower System | Power Block | Turbine system | Turbine governor
Concentrated Solar | Central Tower System | Monitoring and Control Systems | Data Acquisition System (DAS)
Concentrated Solar | Central Tower System | Monitoring and Control Systems | Pressure, temperature, and flow sensors
Concentrated Solar | Central Tower System | Monitoring and Control Systems | SCADA system
Concentrated Solar | Central Tower System | Monitoring and Control Systems | Solar tracking control
Concentrated Solar | Central Tower System | Monitoring and Control Systems | Weather station | Anemometers (wind)
Concentrated Solar | Central Tower System | Monitoring and Control Systems | Weather station | Pyranometers (solar irradiance sensors)
Concentrated Solar | Central Tower System | Monitoring and Control Systems | Weather station | Thermometers and barometers
Concentrated Solar | Central Tower System | Cooling System | Air-cooled condenser system (dry cooling)
Concentrated Solar | Central Tower System | Cooling System | Cooling tower | Drift eliminators
Concentrated Solar | Central Tower System | Cooling System | Cooling tower | Fan system
Concentrated Solar | Central Tower System | Cooling System | Cooling tower | Water distribution
Concentrated Solar | Central Tower System | Cooling System | Hybrid cooling system (if applicable)
Concentrated Solar | Central Tower System | Electrical System | Transformer | Tap Changer
Concentrated Solar | Central Tower System | Electrical System | Transformer | Conservator
Concentrated Solar | Central Tower System | Electrical System | Transformer | Bushings
Concentrated Solar | Central Tower System | Electrical System | Transformer | Cooling System
Concentrated Solar | Central Tower System | Electrical System | Power Cables
Concentrated Solar | Central Tower System | Electrical System | Grounding and Protection | Grounding grid
Concentrated Solar | Central Tower System | Electrical System | Grounding and Protection | Lightning arresters
Concentrated Solar | Central Tower System | Electrical System | Grounding and Protection | Surge protections
Concentrated Solar | Parabolic Trough System | Solar Collection System | Parabolic Troughs | Mirror support structure
Concentrated Solar | Parabolic Trough System | Solar Collection System | Parabolic Troughs | Parabolic mirrors
Concentrated Solar | Parabolic Trough System | Solar Collection System | Parabolic Troughs | Tracking structure
Concentrated Solar | Parabolic Trough System | Receiver System | Receiver Tube | Absorber tube
Concentrated Solar | Parabolic Trough System | Receiver System | Receiver Tube | Glass envelope (vacuum insulation)
Concentrated Solar | Parabolic Trough System | Receiver System | Receiver Tube | Metal bellows (thermal expansion)
Concentrated Solar | Parabolic Trough System | Receiver System | Receiver Tube | Selective coating
Concentrated Solar | Parabolic Trough System | Heat Transfer System / Thermal Energy Storage System | Expansion tank
Concentrated Solar | Parabolic Trough System | Heat Transfer System / Thermal Energy Storage System | Heat exchangers
Concentrated Solar | Parabolic Trough System | Heat Transfer System / Thermal Energy Storage System | Heat Transfer Fluid (HTF) (synthetic oil)
Concentrated Solar | Parabolic Trough System | Heat Transfer System / Thermal Energy Storage System | HTF piping network
Concentrated Solar | Parabolic Trough System | Heat Transfer System / Thermal Energy Storage System | Hot/Cold HTF Storage Tanks
Concentrated Solar | Parabolic Trough System | Heat Transfer System / Thermal Energy Storage System | Pumps
Concentrated Solar | Parabolic Trough System | Power Block | Condenser system | Air-cooled condenser (alternative)
Concentrated Solar | Parabolic Trough System | Power Block | Condenser system | Cooling water pumps
Concentrated Solar | Parabolic Trough System | Power Block | Condenser system | Surface condenser
Concentrated Solar | Parabolic Trough System | Power Block | Generator system | Cooling system
Concentrated Solar | Parabolic Trough System | Power Block | Generator system | Bearings
Concentrated Solar | Parabolic Trough System | Power Block | Generator system | Rotor
Concentrated Solar | Parabolic Trough System | Power Block | Generator system | Stator
Concentrated Solar | Parabolic Trough System | Power Block | Steam generation system | Boiler / steam generator
Concentrated Solar | Parabolic Trough System | Power Block | Steam generation system | Preheater
Concentrated Solar | Parabolic Trough System | Power Block | Steam generation system | Reheater
Concentrated Solar | Parabolic Trough System | Power Block | Steam generation system | Superheater
Concentrated Solar | Parabolic Trough System | Power Block | Turbine system | Bearings
Concentrated Solar | Parabolic Trough System | Power Block | Turbine system | Lubrication system
Concentrated Solar | Parabolic Trough System | Power Block | Turbine system | Steam turbine
Concentrated Solar | Parabolic Trough System | Power Block | Turbine system | Turbine governor
Concentrated Solar | Parabolic Trough System | Monitoring and Control Systems | Data Acquisition System (DAS)
Concentrated Solar | Parabolic Trough System | Monitoring and Control Systems | Pressure, temperature, and flow sensors
Concentrated Solar | Parabolic Trough System | Monitoring and Control Systems | SCADA system
Concentrated Solar | Parabolic Trough System | Monitoring and Control Systems | Solar tracking control
Concentrated Solar | Parabolic Trough System | Monitoring and Control Systems | Weather station | Anemometers (wind)
Concentrated Solar | Parabolic Trough System | Monitoring and Control Systems | Weather station | Pyranometers (solar irradiance sensors)
Concentrated Solar | Parabolic Trough System | Monitoring and Control Systems | Weather station | Thermometers and barometers
Concentrated Solar | Parabolic Trough System | Cooling System | Air-cooled condenser system (dry cooling)
Concentrated Solar | Parabolic Trough System | Cooling System | Cooling tower | Drift eliminators
Concentrated Solar | Parabolic Trough System | Cooling System | Cooling tower | Fan system
Concentrated Solar | Parabolic Trough System | Cooling System | Cooling tower | Water distribution
Concentrated Solar | Parabolic Trough System | Cooling System | Hybrid cooling system (if applicable)
Concentrated Solar | Parabolic Trough System | Grounding and Protection | Grounding grid
Concentrated Solar | Parabolic Trough System | Grounding and Protection | Lightning arresters
Concentrated Solar | Parabolic Trough System | Grounding and Protection | Surge protections
Concentrated Solar | Linear Fresnel Reflector System | Solar Collection System | Linear Fresnel Reflectors | Flat mirror arrays
Concentrated Solar | Linear Fresnel Reflector System | Solar Collection System | Linear Fresnel Reflectors | Mirror support structure
Concentrated Solar | Linear Fresnel Reflector System | Solar Collection System | Linear Fresnel Reflectors | Tracking mechanisms
Concentrated Solar | Linear Fresnel Reflector System | Receiver System | Fixed Linear Receiver | Absorber tube
Concentrated Solar | Linear Fresnel Reflector System | Receiver System | Fixed Linear Receiver | Reflective cavity
Concentrated Solar | Linear Fresnel Reflector System | Receiver System | Fixed Linear Receiver | Support truss
Concentrated Solar | Linear Fresnel Reflector System | Heat Transfer System / Thermal Energy Storage System | Expansion tank
Concentrated Solar | Linear Fresnel Reflector System | Heat Transfer System / Thermal Energy Storage System | Heat exchangers
Concentrated Solar | Linear Fresnel Reflector System | Heat Transfer System / Thermal Energy Storage System | Heat Transfer Fluid (HTF) (synthetic oil)
Concentrated Solar | Linear Fresnel Reflector System | Heat Transfer System / Thermal Energy Storage System | HTF piping network
Concentrated Solar | Linear Fresnel Reflector System | Heat Transfer System / Thermal Energy Storage System | Hot/Cold HTF Storage Tanks
Concentrated Solar | Linear Fresnel Reflector System | Heat Transfer System / Thermal Energy Storage System | Pumps
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Condenser system | Air-cooled condenser (alternative)
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Condenser system | Cooling water pumps
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Condenser system | Surface condenser
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Generator system | Cooling system
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Generator system | Excitation system
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Generator system | Rotor
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Generator system | Stator
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Steam generation system | Boiler / steam generator
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Steam generation system | Deaerator
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Steam generation system | Superheater
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Turbine system | Bearings
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Turbine system | Lubrication system
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Turbine system | Steam turbine
Concentrated Solar | Linear Fresnel Reflector System | Power Block | Turbine system | Turbine governor
Concentrated Solar | Linear Fresnel Reflector System | Monitoring and Control Systems | Data Acquisition System (DAS)
Concentrated Solar | Linear Fresnel Reflector System | Monitoring and Control Systems | Pressure, temperature, and flow sensors
Concentrated Solar | Linear Fresnel Reflector System | Monitoring and Control Systems | SCADA system
Concentrated Solar | Linear Fresnel Reflector System | Monitoring and Control Systems | Solar tracking control
Concentrated Solar | Linear Fresnel Reflector System | Monitoring and Control Systems | Weather station | Anemometers (wind)
Concentrated Solar | Linear Fresnel Reflector System | Monitoring and Control Systems | Weather station | Pyranometers (solar irradiance sensors)
Concentrated Solar | Linear Fresnel Reflector System | Monitoring and Control Systems | Weather station | Thermometers and barometers
Concentrated Solar | Linear Fresnel Reflector System | Cooling System | Air-cooled condenser system (dry cooling)
Concentrated Solar | Linear Fresnel Reflector System | Cooling System | Cooling tower | Drift eliminators
Concentrated Solar | Linear Fresnel Reflector System | Cooling System | Cooling tower | Fan system
Concentrated Solar | Linear Fresnel Reflector System | Cooling System | Cooling tower | Water distribution
Concentrated Solar | Linear Fresnel Reflector System | Cooling System | Hybrid cooling system (if applicable)
Concentrated Solar | Linear Fresnel Reflector System | Grounding and Protection | Grounding grid
Concentrated Solar | Linear Fresnel Reflector System | Grounding and Protection | Lightning arresters
Concentrated Solar | Linear Fresnel Reflector System | Grounding and Protection | Surge protections
Concentrated Solar | Parabolic Dish System | Solar Collection System | Parabolic dish | Dish support frame
Concentrated Solar | Parabolic Dish System | Solar Collection System | Parabolic dish | Dual-axis tracking system
Concentrated Solar | Parabolic Dish System | Solar Collection System | Parabolic dish | Reflective dish
Concentrated Solar | Parabolic Dish System | Receiver and Power Block | Stirling Engine | Cooling system
Concentrated Solar | Parabolic Dish System | Receiver and Power Block | Stirling Engine | Displacer piston
Concentrated Solar | Parabolic Dish System | Receiver and Power Block | Stirling Engine | Generator (integrated)
Concentrated Solar | Parabolic Dish System | Receiver and Power Block | Stirling Engine | Power piston
Concentrated Solar | Parabolic Dish System | Receiver and Power Block | Stirling Engine | Thermal receiver
Concentrated Solar | Parabolic Dish System | Electrical system | Energy storage (optional)
Concentrated Solar | Parabolic Dish System | Electrical system | Inverter (if AC conversion)
Concentrated Solar | Parabolic Dish System | Electrical system | Power distribution
Concentrated Solar | Parabolic Dish System | Control and Instrumentation | Dish tracking control
Concentrated Solar | Parabolic Dish System | Control and Instrumentation | Engine monitoring sensors