## Sheet1
Asset | Component | subcomponent | subcomponent
Distillate Fuel Oil Generation Plant | Fuel Handling & Storage | Fuel Receipt | Tanker
Distillate Fuel Oil Generation Plant | Fuel Handling & Storage | Fuel Receipt | Pipeline Connection
Distillate Fuel Oil Generation Plant | Fuel Handling & Storage | Fuel Storage Tanks
Distillate Fuel Oil Generation Plant | Fuel Handling & Storage | Fuel Filtration & Treatment | Filters
Distillate Fuel Oil Generation Plant | Fuel Handling & Storage | Fuel Filtration & Treatment | Water Removal
Distillate Fuel Oil Generation Plant | Fuel Handling & Storage | Fuel Transfer Pumps
Distillate Fuel Oil Generation Plant | Fuel Handling & Storage | Fuel Heat Exchangers
Distillate Fuel Oil Generation Plant | Fuel Handling & Storage | Fuel Day Tank
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Steam Cycle (if applicable) | Boiler/Steam Generator
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Steam Cycle (if applicable) | Burner Management System
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Steam Cycle (if applicable) | Superheater & Reheater
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Steam Cycle (if applicable) | Economizer
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Steam Cycle (if applicable) | Steam Turbine
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Steam Cycle (if applicable) | Condenser
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Steam Cycle (if applicable) | Feedwater System
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Internal Combustion Engine (Reciprocating) | Engine Block
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Internal Combustion Engine (Reciprocating) | Fuel Injection System
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Internal Combustion Engine (Reciprocating) | Turbocharger (if applicable)
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Internal Combustion Engine (Reciprocating) | Exhaust System
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Gas Turbine (if applicable) | Compressor Section
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Gas Turbine (if applicable) | Combustion Chamber
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Gas Turbine (if applicable) | Turbine
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Gas Turbine (if applicable) | Exhaust Diffuser
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Generator | Stator
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Generator | Rotor
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Generator | Bearings
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Generator | Cooling System
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Lubrication System | Oil Reservoir
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Lubrication System | Pumps
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Lubrication System | Coolers
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Lubrication System | Filters
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Starting System | Electric Motor Start
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Starting System | Compressed Air Start
Distillate Fuel Oil Generation Plant | Prime Mover & Power Generation | Starting System | Hydraulic Start
Distillate Fuel Oil Generation Plant | Cooling System | Radiators (for engines)
Distillate Fuel Oil Generation Plant | Cooling System | Heat Exchangers
Distillate Fuel Oil Generation Plant | Cooling System | Cooling Water Pumps
Distillate Fuel Oil Generation Plant | Cooling System | Cooling Tower (if applicable)
Distillate Fuel Oil Generation Plant | Cooling System | Raw Water Intake/Supply
Distillate Fuel Oil Generation Plant | Exhaust & Emissions Control | Emission Stack
Distillate Fuel Oil Generation Plant | Exhaust & Emissions Control | Silencers/Mufflers
Distillate Fuel Oil Generation Plant | Exhaust & Emissions Control | Particulate Filters (if needed for heavy fuel types)
Distillate Fuel Oil Generation Plant | Exhaust & Emissions Control | Selective Catalytic Reduction (SCR) (NOₓ control)
Distillate Fuel Oil Generation Plant | Exhaust & Emissions Control | Scrubbers (less common for distillate)
Distillate Fuel Oil Generation Plant | Auxiliary & Balance-of-Plant | Compressed Air System
Distillate Fuel Oil Generation Plant | Auxiliary & Balance-of-Plant | Startup Fuel System
Distillate Fuel Oil Generation Plant | Auxiliary & Balance-of-Plant | Fire Protection & Safety
Distillate Fuel Oil Generation Plant | Auxiliary & Balance-of-Plant | HVAC & Building Services
Distillate Fuel Oil Generation Plant | Auxiliary & Balance-of-Plant | Cooling & Service Water Treatment
Distillate Fuel Oil Generation Plant | Electrical Systems | Step-Up Transformer | Tap Changer
Distillate Fuel Oil Generation Plant | Electrical Systems | Step-Up Transformer | Conservator
Distillate Fuel Oil Generation Plant | Electrical Systems | Step-Up Transformer | Cooling System
Distillate Fuel Oil Generation Plant | Electrical Systems | Step-Up Transformer | Bushings
Distillate Fuel Oil Generation Plant | Electrical Systems | Circuit Breakers
Distillate Fuel Oil Generation Plant | Electrical Systems | Disconnect Switches
Distillate Fuel Oil Generation Plant | Electrical Systems | Power Cables
Distillate Fuel Oil Generation Plant | Electrical Systems | Busbars
Distillate Fuel Oil Generation Plant | Electrical Systems | Protection and Relaying System | Differential protection
Distillate Fuel Oil Generation Plant | Electrical Systems | Protection and Relaying System | Overcurrent protection
Distillate Fuel Oil Generation Plant | Electrical Systems | Protection and Relaying System | Earth fault protection
Distillate Fuel Oil Generation Plant | Control Systems | Instrumentation | Pressure Sensors
Distillate Fuel Oil Generation Plant | Control Systems | Instrumentation | Temperature Gauges
Distillate Fuel Oil Generation Plant | Control Systems | Instrumentation | Flow Meters
Distillate Fuel Oil Generation Plant | Control Systems | Instrumentation | Level Sensors
Distillate Fuel Oil Generation Plant | Control Systems | Instrumentation | Gas Analyzers
Distillate Fuel Oil Generation Plant | Control Systems | Control Components | Distributed Control System (DCS)
Distillate Fuel Oil Generation Plant | Control Systems | Control Components | Programmable Logic Controller (PLC)
Distillate Fuel Oil Generation Plant | Control Systems | Control Components | Supervisory Control and Data Acquisition (SCADA)
Distillate Fuel Oil Generation Plant | Control Systems | Control Components | Human-Machine Interface (HMI)