## Sheet1
Asset | Component | Sub-Component | Sub-Sub-Component | Hazard | FragilityModel | scale | shape | median | dispersion | mid_point | slope
Fossil Fuel Generation Plant | Fuel Supply & Preparation | Fuel Receipt & Storage | Receipt Infrastructure
Fossil Fuel Generation Plant | Fuel Supply & Preparation | Fuel Receipt & Storage | Fuel Storage Facility
Fossil Fuel Generation Plant | Fuel Supply & Preparation | Fuel Delivery & Conditioning | Fuel Transfer System
Fossil Fuel Generation Plant | Fuel Supply & Preparation | Fuel Delivery & Conditioning | Fuel Treatment & Preparation
Fossil Fuel Generation Plant | Power Generation & Conversion | Prime Mover(s) | Energy Conversion Engine
Fossil Fuel Generation Plant | Power Generation & Conversion | Prime Mover(s) | Fuel Input System
Fossil Fuel Generation Plant | Power Generation & Conversion | Power Conversion Unit | Generator | Heat Stress | lognormal |  |  | 105 | 0.2
Fossil Fuel Generation Plant | Power Generation & Conversion | Power Conversion Unit | Power Interconnection Equipment
Fossil Fuel Generation Plant | Heat Rejection & Plant Cooling | Cooling System | Heat Exchangers
Fossil Fuel Generation Plant | Heat Rejection & Plant Cooling | Cooling System | Cooling Medium Circulation
Fossil Fuel Generation Plant | Heat Rejection & Plant Cooling | Cooling System | Cooling Tower / Other Heat Sink
Fossil Fuel Generation Plant | Environmental Control Systems | Emissions Control | Particulate Matter Control
Fossil Fuel Generation Plant | Environmental Control Systems | Emissions Control | Gaseous Emissions Control
Fossil Fuel Generation Plant | Environmental Control Systems | Emissions Control | Exhaust Stack System
Fossil Fuel Generation Plant | Environmental Control Systems | Waste Management | Liquid Waste Treatment
Fossil Fuel Generation Plant | Environmental Control Systems | Waste Management | Solid Waste Handling
Fossil Fuel Generation Plant | Auxiliary & Balance-of-Plant Systems | Plant Utilities | Compressed Air System | Heat Stress | logistic |  |  |  |  | 84.2 | 0.5
Fossil Fuel Generation Plant | Auxiliary & Balance-of-Plant Systems | Plant Utilities | Water Treatment System
Fossil Fuel Generation Plant | Auxiliary & Balance-of-Plant Systems | Plant Utilities | Fire Suppression & Safety Systems
Fossil Fuel Generation Plant | Auxiliary & Balance-of-Plant Systems | Plant Utilities | HVAC & Building Services
Fossil Fuel Generation Plant | Auxiliary & Balance-of-Plant Systems | Support Infrastructure | Lubrication System
Fossil Fuel Generation Plant | Auxiliary & Balance-of-Plant Systems | Support Infrastructure | Starting System
Fossil Fuel Generation Plant | Electrical Systems | Power Distribution | Internal Substations & Transformers
Fossil Fuel Generation Plant | Electrical Systems | Power Distribution | Switchgear & Distribution Panels
Fossil Fuel Generation Plant | Electrical Systems | Power Distribution | Cabling & Busbars
Fossil Fuel Generation Plant | Electrical Systems | Protection & Control Power | Relaying & Protection System
Fossil Fuel Generation Plant | Electrical Systems | Protection & Control Power | Uninterruptible Power Supply (UPS)
Fossil Fuel Generation Plant | Electrical Systems | Protection & Control Power | Auxiliary Power Generation
Fossil Fuel Generation Plant | Control & Monitoring Systems | Plant Control System | Distributed Control System (DCS) / PLC-based System
Fossil Fuel Generation Plant | Control & Monitoring Systems | Plant Control System | Human-Machine Interface (HMI)
Fossil Fuel Generation Plant | Control & Monitoring Systems | Instrumentation & Sensors | Process Measurement Devices
Fossil Fuel Generation Plant | Control & Monitoring Systems | Instrumentation & Sensors | Safety & Interlock Systems
Fossil Fuel Generation Plant | Control & Monitoring Systems | Data & Communications | SCADA System (if remote monitoring)
Fossil Fuel Generation Plant | Control & Monitoring Systems | Data & Communications | Plant Communication Network
Fossil Fuel Generation Plant | Heat Utilization System (if CHP) | Heat Recovery & Transfer | Heat Recovery Unit
Fossil Fuel Generation Plant | Heat Utilization System (if CHP) | Heat Recovery & Transfer | Heat Transfer Medium Circulation
Fossil Fuel Generation Plant | Heat Utilization System (if CHP) | Heat Distribution | Customer Heat Distribution Interface