## Sheet1
Asset | Component | Sub-Component | Sub-Sub-Component | Hazard | FragilityModel | scale | shape | median | dispersion | mid_point | slope
Photovoltaic | PV Array System | Solar PV Modules | Panel frame
Photovoltaic | PV Array System | Solar PV Modules | Tempered glass
Photovoltaic | PV Array System | Solar PV Modules | Encapsulant
Photovoltaic | PV Array System | Solar PV Modules | Solar cells
Photovoltaic | PV Array System | Solar PV Modules | Back sheet
Photovoltaic | PV Array System | Solar PV Modules | Junction box and bypass diodes
Photovoltaic | PV Array System | Mounting Structures | Fixed-tilt structures
Photovoltaic | PV Array System | Mounting Structures | Single-axis trackers
Photovoltaic | PV Array System | Mounting Structures | Dual-axis trackers
Photovoltaic | DC Collection & Protection | DC Cables & Conduits
Photovoltaic | DC Collection & Protection | Combiner / String Boxes | String Fuses / Breakers
Photovoltaic | DC Collection & Protection | Combiner / String Boxes | DC Disconnect Switches
Photovoltaic | DC Collection & Protection | Combiner / String Boxes | Surge-Protection Devices (SPDs)
Photovoltaic | DC Collection & Protection | Grounding and Bonding Conductors
Photovoltaic | Inverter System (DC to AC) | Inverter (Central or String) | Onboard MPPT Circuitry
Photovoltaic | Inverter System (DC to AC) | Inverter (Central or String) | Power Semiconductors (IGBT/MOSFET)
Photovoltaic | Inverter System (DC to AC) | Inverter (Central or String) | DC Disconnect & SPD
Photovoltaic | Inverter System (DC to AC) | Inverter Cooling (Air or Liquid)
Photovoltaic | Inverter System (DC to AC) | Isolation Transformer (if external)
Photovoltaic | AC Collection & Grid Interface | AC Cables & Busways
Photovoltaic | AC Collection & Grid Interface | Switchgear & Protection | MV Circuit Breakers & Disconnects
Photovoltaic | AC Collection & Grid Interface | Switchgear & Protection | Protective Relays (over/under-voltage, frequency, loss-of mains)
Photovoltaic | AC Collection & Grid Interface | Step-up Transformer / Substation | MV to HV Transformer
Photovoltaic | AC Collection & Grid Interface | Step-up Transformer / Substation | Site Metering
Photovoltaic | AC Collection & Grid Interface | Step-up Transformer / Substation | SCADA RTU
Photovoltaic | Monitoring and Control System | SCADA System
Photovoltaic | Monitoring and Control System | Data Acquisition System (DAS)
Photovoltaic | Monitoring and Control System | Field / Weather Sensors | Pyranometers (solar irradiance) | Heat Stress | Lognormal |  |  | 92 | 0.85
Photovoltaic | Monitoring and Control System | Field / Weather Sensors | Anemometers (wind)
Photovoltaic | Monitoring and Control System | Field / Weather Sensors | Thermometers / Barometers
Photovoltaic | Monitoring and Control System | Inverter Monitoring Interface
Photovoltaic | Energy Storage System (Optional) | Battery Banks
Photovoltaic | Energy Storage System (Optional) | Battery Management System (BMS)
Photovoltaic | Energy Storage System (Optional) | Power Conversion System (bidirectional inverter)
Photovoltaic | Energy Storage System (Optional) | Thermal Management & Housing