## Sheet1
Asset | Component | Sub-Component | Sub-Sub-Component
Solar Generation Facility | Solar Energy Collection System | Photovoltaic Modules (for PV systems)
Solar Generation Facility | Solar Energy Collection System | Reflective Concentrators (for CSP systems) | Heliostats
Solar Generation Facility | Solar Energy Collection System | Reflective Concentrators (for CSP systems) | Parabolic troughs
Solar Generation Facility | Solar Energy Collection System | Reflective Concentrators (for CSP systems) | Fresnel reflectors
Solar Generation Facility | Solar Energy Collection System | Reflective Concentrators (for CSP systems) | Dish collectors
Solar Generation Facility | Solar Energy Collection System | Sun-tracking Systems | Single-axis trackers
Solar Generation Facility | Solar Energy Collection System | Sun-tracking Systems | Dual-axis trackers
Solar Generation Facility | Solar Energy Collection System | Sun-tracking Systems | Tracking control units
Solar Generation Facility | Energy Conversion System | Power Electronics (PV) | Inverters (central or string)
Solar Generation Facility | Energy Conversion System | Power Electronics (PV) | MPPT controllers
Solar Generation Facility | Energy Conversion System | Heat Absorption and Transfer System (CSP) | Receivers (central, tubular, or cavity-type)
Solar Generation Facility | Energy Conversion System | Heat Absorption and Transfer System (CSP) | Heat Transfer Fluid (HTF)
Solar Generation Facility | Energy Conversion System | Heat Absorption and Transfer System (CSP) | Heat exchangers / boilers
Solar Generation Facility | Energy Conversion System | Heat Absorption and Transfer System (CSP) | Steam turbine and generator assembly
Solar Generation Facility | Thermal or Electrical Energy Storage | Battery Storage (typically for PV) | Battery management system
Solar Generation Facility | Thermal or Electrical Energy Storage | Battery Storage (typically for PV) | Inverter/charger units
Solar Generation Facility | Thermal or Electrical Energy Storage | Thermal Storage (typically for CSP) | Molten salt tanks
Solar Generation Facility | Thermal or Electrical Energy Storage | Thermal Storage (typically for CSP) | Heat exchange interface
Solar Generation Facility | Electrical Collection and Distribution | DC Collection System (PV only) | String cabling
Solar Generation Facility | Electrical Collection and Distribution | DC Collection System (PV only) | Combiner boxes
Solar Generation Facility | Electrical Collection and Distribution | AC Collection System | Medium-voltage cabling
Solar Generation Facility | Electrical Collection and Distribution | AC Collection System | Step-up transformers
Solar Generation Facility | Electrical Collection and Distribution | AC Collection System | Switchgear and protective relays
Solar Generation Facility | Electrical Collection and Distribution | Substation and Grid Interconnection | Point of interconnection (POI)
Solar Generation Facility | Electrical Collection and Distribution | Substation and Grid Interconnection | Metering equipment
Solar Generation Facility | Electrical Collection and Distribution | Substation and Grid Interconnection | Communication links to utility
Solar Generation Facility | Monitoring and Control Systems | SCADA system
Solar Generation Facility | Monitoring and Control Systems | Data Acquisition System (DAS)
Solar Generation Facility | Monitoring and Control Systems | Weather station | Pyranometers (solar irradiance sensors)
Solar Generation Facility | Monitoring and Control Systems | Weather station | Anemometers (wind)
Solar Generation Facility | Monitoring and Control Systems | Weather station | Thermometers and barometers
Solar Generation Facility | Monitoring and Control Systems | Fault detection and diagnostics
Solar Generation Facility | Monitoring and Control Systems | Remote monitoring interfaces