## Wind Turbine
Asset | Component | subcomponent | subcomponent
Wind Turbine | Wind Vane
Wind Turbine | Anemometer
Wind Turbine | Nacelle | Gearbox Drivetrain | Main Bearing
Wind Turbine | Nacelle | Gearbox Drivetrain | Main Shaft
Wind Turbine | Nacelle | Gearbox Drivetrain | Gearbox
Wind Turbine | Nacelle | Gearbox Drivetrain | Generator
Wind Turbine | Nacelle | Yaw System | Yaw Drive
Wind Turbine | Nacelle | Yaw System | Yaw Motor
Wind Turbine | Nacelle | Brake
Wind Turbine | Nacelle | Low-Speed Shaft
Wind Turbine | Nacelle | High-Speed Shaft
Wind Turbine | Nacelle | Controller
Wind Turbine | Rotor | Blades
Wind Turbine | Rotor | Hub | Pitch Mechanism
Wind Turbine | Tower
Wind Turbine | Foundation
Wind Turbine | Access Road

## Wind Farm
Asset | Component | subcomponent | subcomponent
Wind Farm | Transmission | Conductor
Wind Farm | Transmission | Insulators
Wind Farm | Transmission | Power Pole
Wind Farm | Transmission | Transmission Line Arrester | Arrester Body
Wind Farm | Transmission | Transmission Line Arrester | Disconnector
Wind Farm | Transmission | Transmission Line Arrester | Flex Joint
Wind Farm | Transmission | Transmission Line Arrester | Ground Lead
Wind Farm | Transmission | Transmission Line Arrester | Saddle Camp
Wind Farm | Transmission | Transmission Line Arrester | Shunt
Wind Farm | Transformers
Wind Farm | Substation
Wind Farm | Wind Turbine